## Sheet1
Energy Consumption and Greenhouse Gas Emissions Reporting - for 2020
Operation Name | Address |  | Total Floor Area(Sq Ft) | Avg hrs/wk | Annual Flow (ML) | Electricity (KW) Quantity | Fuel Oil (L) 1 & 2 Quantity | Propane (L) Quantity | GHG Emissions (Kg) | Energy Intensity (ekWh/sqft)
4C's (solar panels) | 33 York St | Haliburton | 2176 | 35 | 0 | 2683 |  | 2257.1 | 3546.432 | 8.5256
64 Maple Ave (pump house) | 64 Maple Ave | Haliburton | 0 | 14 | 17293 | 17293 |  |  | 440.0723 | 0
Caboose (info centre) | York St | Haliburton | 270 | 56 | 0 | 1467 |  |  | 37.3322 | 5.4333
Dysart Community Centre | H Concession Lot 4 | Haliburton | 17639 | 112 | 0 | 25886 |  | 25047.9 | 39257.1601 | 11.4511
Dysart Facility PTP Ltd | 6 Concession Lot 3 | Haliburton | 0 | 10 | 3811 | 3811 |  |  | 96.9823 | 0
Dysart Facility PTP Ltd | Blk T Concession Lot 4 | Haliburton | 0 | 50 | 13010 | 13010 |  |  | 331.0785 | 0
Dysart Facility PTP Ltd | 0 Grass Lake Rd | Haliburton | 0 | 20 | 2380 | 2380 |  |  | 60.5662 | 0
Dysart Facility PTP Ltd | 5316 County Rd 21 | Haliburton | 0 | 45 | 670305 | 670305 |  |  | 17057.9216 | 0
Dysart Facility PTP Ltd | 10 Concession Lot 9 | Haliburton | 0 | 20 | 5127 | 5127 |  |  | 130.4719 | 0
Dysart Facility PTP Ltd | 2057 Wigamog Rd | Haliburton | 0 | 5 | 4427 | 4427 |  |  | 112.6583 | 0
Dysart Facility PTP Ltd | Blk D Concession Lot 6 | Haliburton | 0 | 2 | 4309 | 4309 |  |  | 109.6554 | 0
Dysart Facility PTP Ltd | 1150 Peninsula Dr | Haliburton | 0 | 5 | 3310 | 3310 |  |  | 84.2329 | 0
Dysart Facility PTP Ltd | 9 Concession Lot 8 | Haliburton | 0 | 20 | 7 | 7302 |  |  | 185.8213 | 0
Dysart Facility PTP Ltd | 8 Concession Lot 14 | Haliburton | 0 | 20 | 13440 | 13440 |  |  | 342.0211 | 0
Dysart Facility PTP Ltd | 1238 Wonderland Rd | Haliburton | 0 | 15 | 8921 | 8921 |  |  | 227.0216 | 0
Dysart Ice Plant | C Concession Lot Block | Haliburton | 855 | 50 | 0 | 282841 |  |  | 7197.7378 | 330.8082
Dysart Lib old bld | 710 Mountain St | Haliburton | 1820 | 40 | 0 | 16209 | 3146.5 |  | 9018.655 | 27.5392
Dysart Pump Station | 8 Concession Lot 15 | Haliburton | 0 | 1 | 3531 | 3531 |  |  | 89.8569 | 0
Fire Department | 5 South St | Haliburton | 6000 | 5 | 0 | 22771 |  | 3539.4 | 6033.6352 | 7.9425
Library | 78 Maple Ave | Haliburton | 5981 | 44 | 0 | 29735 | 6486.2 |  | 18497.4651 | 16.6597
Medical Centre | 7217 County Rd 1 | Haliburton | 20334 | 39.5 | 0 | 22236 |  | 11009.3 | 17531.0169 | 4.9
Municipal Office | 135 Maple Ave | Haliburton | 3720 | 42.5 | 0 |  | 7722.6 | 3426.7 | 26403.0056 | 28.8506
Museum | 66 Museum Rd | Haliburton | 3000 | 42 | 0 | 13273 | 4862.6 |  | 13637.7409 | 21.8937
New Offices | 135 Maple Ave | Haliburton | 2399 | 42.5 | 0 | 73735 |  |  | 1876.4083 | 30.7357
Old County Lib (old health unit) | 739 Mountain St | Haliburton | 3318 | 50 | 0 | 38517 | 3146.5 |  | 9586.349 | 21.8292
Old OPP | G Concession Lot 4 10 | Haliburton | 2436 | 24 | 0 | 31308 | 3146.5 |  | 9402.8943 | 26.7735
Rails End Gallery | York St | Haliburton | 3600 | 30 | 0 |  |  | 5038.3 | 7763.9397 | 9.8395
Roads Garage | 12323 Hwy 118 | Haliburton | 11820 | 40 | 0 | 78636 |  | 42408.47 | 67351.9027 | 31.8774
Traffic Lights | Concession Lot 6 | Haliburton | 1 | 80 | 0 | 2112 |  |  | 53.7462 | 2112